## Blad1
Product QC Testing Summary
Product Catalog/Part No.: | GXHIV-VL-CE-10 |  | (Select using drop-down menu.) |  |  |  | Type of Resample |  | N/A
Cartridge No. (LSP) | 12345 |  | Cartridge Expiration Date |  | 2099 12 31 |  | Complementary Resample |  | N/A
[7 empty] | Retest due to False Positive(s) |  | N/A
[7 empty] | Extra test due to HIV-1 High SD Fail |  | N/A
Table 1; Test and Control Material Information
Negative Control |  |  | Low Positive Control |  |  | High Positive Control
Part No. | Lot No. | Exp. Date | Part No. | Lot No. | Exp. Date | Part No. | Lot No. | Exp. Date
025-00008 or 525-00033 | MOWA5403 | 2099 12 31 | 525-00017 | TER35DR | 2099 12 31 | 525-00018 | 123456HEJ | 2099 12 31
Table 2; Pipette Information
Cepheid ID | Nr. 34 |  | Nr. 3 |  | Nr. 22 |  | N/A |  | N/A |  | N/A
Calibration Due Date | Mar-26 |  | Apr-26 |  | Mar-26 |  | N/A |  | N/A |  | N/A
Table 3; GeneXperts/Infinitys Used
Cepheid ID | Infinity-I |  | Infinity-VI |  | Infinity-VIII |  | GX3 |  | GX1 |  | GX7
Calibration Due Date | Feb-26 |  | Mar-26 |  | Mar-26 |  | Mar-26 |  | Mar-26 |  | 46138
Cepheid ID | GX5 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
Calibration Due Date | Feb-26 |  | N/A |  | N/A |  | N/A |  | N/A |  | N/A
Table 4; Analyte Results |  |  |  |  | Resample N=100 |  |  |  | Resample N=200
Sample Type | Type | Original | Accept Criteria | Result | Resample | Combined | Accept Criteria | Result | Resample | Combined | Accept Criteria | Result
Low Positive | HIV-1 Log Titer | #DIV/0! | 0.02-0.03 | #DIV/0! | N/A | N/A | 0.02-0.03 | N/A | N/A | N/A | 0.02-0.03 | N/A
| HIV-1 Log Titer SD | #DIV/0! | ≤0.000 | #DIV/0! | N/A | N/A | ≤0.000 | N/A | N/A | N/A | ≤0.000 | N/A
| HIV-1 Ct | #DIV/0! | 0.36-0.37 | #DIV/0! | N/A | N/A | 0.36-0.37 | N/A | N/A | N/A | 0.36-0.37 | N/A
High Positive | HIV-1 Log Titer | #DIV/0! | 0.05-0.05 | #DIV/0! | N/A | N/A | 0.05-0.05 | N/A | N/A | N/A | 0.05-0.05 | N/A
| HIV-1 Log Titer SD | #DIV/0! | ≤0.000 | #DIV/0! | N/A | N/A | ≤0.000 | N/A | N/A | N/A | ≤0.000 | N/A
| HIV-1 Ct | #DIV/0! | 0.26-0.28 | #DIV/0! | N/A | N/A | 0.26-0.28 | N/A | N/A | N/A | 0.26-0.28 | N/A
All | IQS-H | #DIV/0! | 0.23-0.24 | #DIV/0! | N/A | N/A | 0.23-0.24 | N/A | N/A | N/A | 0.23-0.24 | N/A
| IQS-L | #DIV/0! | 0.33-0.35 | #DIV/0! | N/A | N/A | 0.33-0.35 | N/A | N/A | N/A | 0.33-0.35 | N/A
Table 5; Extra Analyte Results (Only applicable if extra test has been performed)
Sample Type | Type | N/A | Extra | New Combined | Accept Criteria | Result
High Positive | HIV-1 Log Titer | N/A | N/A | N/A | 0.05-0.05 | N/A
| HIV-1 Log Titer SD | N/A | N/A | N/A | ≤0.000 | N/A
| HIV-1 Ct | N/A | N/A | N/A | 0.26-0.28 | N/A
All | IQS-H | N/A | N/A | N/A | 0.23-0.24 | N/A
| IQS-L | N/A | N/A | N/A | 0.33-0.35 | N/A
Table 6: Single Minor Failure Mode |  |  |  | Resample N=100 |  |  | Resample N=200
Type |  | Count | Result | Resample Count | Final Count | Result | Resample Count | Final Count | Result
Invalid (w/o error code) |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Curve Fit Error |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Probe Check Low |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Probe Check High |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
CIT and SLD |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Pressure Abort or Max Pressure > 90 PSI |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Sample Volume Adequacy |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
Delamination |  | 0 | Pass | N/A | N/A | N/A | N/A | N/A | N/A
| Max Count: | 0 |  |  | N/A |  |  | N/A
| Max Acceptable: | 4 |  |  | 7 Resample at 8-10 |  |  | 10
| (Out of ) | (210) |  |  | 310 |  |  | 410
Table 7: Extra Single Minor Failure Mode (Only applicable if extra test has been performed)
Type |  | N/A | Extra Count | New Final Count | Result
Invalid (w/o error code) |  | N/A | N/A | N/A | N/A |  |  |  | Table 8; Visual and Delamination Resample Results
Curve Fit Error |  | N/A | N/A | N/A | N/A |  |  |  | Type |  | Resample Count
Probe Check Low |  | N/A | N/A | N/A | N/A |  |  |  | Minor Visual Failure |  | N/A
Probe Check High |  | N/A | N/A | N/A | N/A |  |  |  | Major Visual Failure |  | N/A
CIT and SLD |  | N/A | N/A | N/A | N/A |  |  |  | Delamination |  | N/A
Pressure Abort or Max Pressure > 90 PSI |  | N/A | N/A | N/A | N/A |  |  |  | Note: Enter in results if applicable (See Intended Use)
Sample Volume Adequacy |  | N/A | N/A | N/A | N/A
Delamination |  | N/A | N/A | N/A | N/A
|  |  | Max Count: | N/A
|  |  | Max Acceptable: | N/A
|  |  | (Out of) | N/A
Table 9: Result Summary |  |  |  |  | Resample N=100 |  |  |  | Resample N=200
Type |  | Original Count | Accept Criteria | Result | Resample Count | Accept Criteria | Combined Count | Result | Resample Count | Accept Criteria | Combined Count | Result
Total No. Cartridges Registered: |  | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total No. Valid Test Replicates: |  | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
No. Minor Failures: |  | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
No. Seal Test Failure: |  | 0 | ≤9 | Pass | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
No. False Positive |  | 0 | =0 Resample if =1 (after retest) | Pass | N/A | Resample Data Only =0 (after retest if applicable) | N/A | N/A | N/A | Resample Data Only =0 (after retest if applicable) | N/A | N/A
No. Major Visual |  | 0 | N/A | Pass | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
No. False Negative |  | 0 | N/A |  | N/A | N/A | N/A |  | N/A | N/A | N/A
No. Misquantitation (Low) |  | 0 | N/A |  | N/A | N/A | N/A |  | N/A | N/A | N/A
No. Misquantitation (High) |  | 0 | N/A |  | N/A | N/A | N/A |  | N/A | N/A | N/A
Total No. Misquantitation |  | 0 | N/A |  | N/A | N/A | N/A |  | N/A | N/A | N/A
No. Total Major Failures (Excluding False Positive): |  | 0 | N/A |  | N/A | N/A | N/A |  | N/A | N/A | N/A
No. Total Failures: |  | 0 | ≤9 | Pass | N/A | Resample Data Only ≤5 | N/A | N/A | N/A | Resample Data Only ≤10 | N/A | N/A
Table 10: Extra Result Summary (Only applicable if extra test has been performed)
Type |  | N/A | Extra Count | Accept Criteria | New Combined Count | Result
Total No. Cartridges Registered: |  | N/A | N/A | N/A | N/A | N/A
Total No. Valid Test Replicates: |  | N/A | N/A | N/A | N/A | N/A
No. Minor Failures: |  | N/A | N/A | N/A | N/A | N/A
No. Major Visual |  | N/A | N/A | N/A | N/A | N/A
No. False Negative |  | N/A | N/A | N/A | N/A
No. Misquantitation (Low) |  | N/A | N/A | N/A | N/A
No. Misquantitation (High) |  | N/A | N/A | N/A | N/A
Total No. Misquantitation |  | N/A | N/A | N/A | N/A
No. Total Major Failures (Excluding False Positive): |  | N/A | N/A | N/A | N/A
No. Total Failures: |  | N/A | N/A | N/A | N/A | N/A
| Original Result: | ND |  |  | Extra Original Result: | N/A |  |  | NC# | N/A
| Partial Resample Result: | N/A |  |  | Extra Partial Resample Result: | N/A |  |  | LFI# | N/A
| Overall Result: | ND |  |  | Extra Overall Result: | N/A
| Comments | [9 empty] | ¨N/A
N/A
| Recorded By: | Jesper Fredriksson | [5 empty] | Date: | 2025 10 10
| PQC Reviewed By: | Namn Namnsson | [5 empty] | Date: | 2025 10 11